
**Mapping Report**


Condition

|  |  |  |  |
| --- | --- | --- | --- |
| Acquire Date | 6/18/2018 1:49:58 PM | Voltage | 50 kV |
| Scan Size | 9.630, 13.020 mm | Current | 1000 uA |
| Image size | 321 x 434 pixel | Filter | OFF |
| Pixel size | 30 um/pixel | Collimator | 0.2x0.2mm |
| Time per pixel | 50.00 ms |  |  |
| Frame Accmu. counts | 1 |  |  |
| Mapping Total Time | 118.4 min |  |  |


Sample image




Ca-Ka




P-Ka




Fe-Ka




Mn-Ka



Sr-Ka



Zn-Ka



K-Ka

